## 0
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-08-31 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 174200 | 5294051 | 25020416
2 | Auxiliary power consumption | kWhr | 18213 | 561948 | 2715493
3 | Net Power Exported | kWhr | 155987 | 4732103 | 22304923
4 | Auxiliary power consumption | ( % ) | 10.4552 | 10.6147 | 10.8531
5 | Average Power Generation | MWhr | 7.2583 | 7.1157 | 6.8518
6 | Plant Running Hours | Hrs | 24 | 744 | 3651.66
6 | PLF | ( % ) | 72.5833 | 71.1566 | 68.5179
7 | Feed Water consumption | MT | 794 | 24425 | 116198
8 | Boiler Steam Generation | MT | 771 | 23689 | 112677
9 | Bleed steam | MT | 57 | 1708 | 7488
10 | Turbine steam consumption | MT | 726 | 22119 | 104292
11 | Condensate Generation | MT | 570 | 17516 | 83129
12 | Auxilairy steam consumption | MT | 18 | 549 | 2698
13 | Specific steam consumption | Kg/Kwhr | 4.1676 | 4.1781 | 4.1683
14 | Specific fuel consumption | Kg/Kwhr | 0.75775 | 0.75122 | 0.83216
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2806.5327 | 2814.3395 | 2808.0027
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3818.798 | 3860.8157 | 3885.6279
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 132 | 3977 | 20821
2 | GCV ( ADB ) | Kcal/kg | 4601
WTP Report
1 | DM water Generation | m3 | 11 | 441 | 2284
2 | DM water Consumption | m3 | 10 | 439 | 2296
3 | CT Makeup Water Consumption | m3 | 18 | 671 | 3104
4 | Fly ash combustible/ GCV | % / kcal/kg | 19.9 | 1650
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 858 | 3807
6 | Fly ash to Coalyard(Truck) | nos | 4 | 60 | 369
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 1
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-01 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 177900 | 177900 | 25198316
2 | Auxiliary power consumption | kWhr | 18110 | 18110 | 2733603
3 | Net Power Exported | kWhr | 159790 | 159790 | 22464713
4 | Auxiliary power consumption | ( % ) | 10.1799 | 10.1799 | 10.8484
5 | Average Power Generation | MWhr | 7.4125 | 7.4125 | 6.8555
6 | Plant Running Hours | Hrs | 24 | 24 | 3675.66
6 | PLF | ( % ) | 74.125 | 74.125 | 68.5545
7 | Feed Water consumption | MT | 809 | 809 | 117007
8 | Boiler Steam Generation | MT | 787 | 787 | 113464
9 | Bleed steam | MT | 61 | 61 | 7549
10 | Turbine steam consumption | MT | 741 | 741 | 105033
11 | Condensate Generation | MT | 580 | 580 | 83709
12 | Auxilairy steam consumption | MT | 18 | 18 | 2716
13 | Specific steam consumption | Kg/Kwhr | 4.1653 | 4.1653 | 4.1683
14 | Specific fuel consumption | Kg/Kwhr | 0.75323 | 0.75323 | 0.8316
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2805.5818 | 2805.5818 | 2807.9856
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3816.9744 | 3816.9744 | 3885.1432
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 134 | 134 | 20955
2 | GCV ( ADB ) | Kcal/kg | 4644
WTP Report
1 | DM water Generation | m2 | 16 | 16 | 2300
2 | DM water Consumption | m3 | 14 | 14 | 2310
3 | CT Makeup Water Consumption | m3 | 18 | 18 | 3122
4 | Fly ash combustible/ GCV | % / kcal/kg | 19 | 1421
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 0 | 3807
6 | Fly ash to Coal yard(Truck) | nos | 5 | 5 | 374
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 2
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-02 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 159700 | 337600 | 25358016
2 | Auxiliary power consumption | kWhr | 17609 | 35719 | 2751212
3 | Net Power Exported | kWhr | 142091 | 301881 | 22606804
4 | Auxiliary power consumption | ( % ) | 11.0263 | 10.5803 | 10.8495
5 | Average Power Generation | MWhr | 6.6542 | 7.0333 | 6.8541
6 | Plant Running Hours | Hrs | 24 | 48 | 3699.66
7 | PLF | ( % ) | 66.5417 | 70.3333 | 68.5415
8 | Feed Water consumption | MT | 749 | 1558 | 117756
9 | Boiler Steam Generation | MT | 726 | 1513 | 114190
10 | Bleed steam | MT | 45 | 106 | 7594
11 | Turbine steam consumption | MT | 668 | 1409 | 105701
12 | Condensate Generation | MT | 533 | 1113 | 84242
13 | Auxilairy steam consumption | MT | 18 | 36 | 2734
14 | Specific steam consumption | Kg/Kwhr | 4.1828 | 4.1736 | 4.1683
15 | Specific fuel consumption | Kg/Kwhr | 0.77646 | 0.76422 | 0.83126
16 | Heat Rate(TG)2880 | Kcal/Kwh | 2817.6832 | 2811.3063 | 2808.0467
17 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3922.4026 | 3866.8467 | 3885.3779
18 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 124 | 258 | 21079
2 | GCV ( ADB ) | Kcal/kg | 4432
WTP Report
1 | DM water Generation | m3 | 12 | 28 | 2312
2 | DM water Consumption | m3 | 14 | 28 | 2324
3 | CT Makeup Water Consumption | m3 | 54 | 72 | 3176
4 | Fly ash combustible/ GCV | % / kcal/kg | 21 | 1542
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 0 | 3807
6 | Fly ash to Coal yard(Truck) | nos | 4 | 9 | 378
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 3
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-03 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 179500 | 517100 | 25537516
2 | Auxiliary power consumption | kWhr | 17987 | 53706 | 2769199
3 | Net Power Exported | kWhr | 161513 | 463394 | 22768317
4 | Auxiliary power consumption | ( % ) | 10.0206 | 10.386 | 10.8437
5 | Average Power Generation | MWhr | 7.4792 | 7.1819 | 6.8582
6 | Plant Running Hours | Hrs | 24 | 72 | 3723.66
6 | PLF | ( % ) | 74.7917 | 71.8194 | 68.5818
7 | Feed Water consumption | MT | 825 | 2383 | 118581
8 | Boiler Steam Generation | MT | 795 | 2308 | 114985
9 | Bleed steam | MT | 46 | 152 | 7640
10 | Turbine steam consumption | MT | 743 | 2152 | 106444
11 | Condensate Generation | MT | 597 | 1710 | 84839
12 | Auxilairy steam consumption | MT | 17 | 53 | 2751
13 | Specific steam consumption | Kg/Kwhr | 4.1393 | 4.1617 | 4.1681
14 | Specific fuel consumption | Kg/Kwhr | 0.7688 | 0.76581 | 0.83082
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2787.4039 | 2803.0091 | 2807.9016
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3821.4056 | 3851.0728 | 3884.9282
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 138 | 396 | 21217
2 | GCV ( ADB ) | Kcal/kg | 4767
WTP Report
1 | DM water Generation | m3 | 9 | 37 | 2321
2 | DM water Consumption | m3 | 10 | 38 | 2334
3 | CT Makeup Water Consumption | m3 | 18 | 90 | 3194
4 | Fly ash combustible/ GCV | % / kcal/kg | 22 | 1708
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 0 | 3807
6 | Fly ash to Coal yard(Truck) | nos | 6 | 15 | 384
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 4
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-04 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 185500 | 702600 | 25723016
2 | Auxiliary power consumption | kWhr | 18143 | 71849 | 2787342
3 | Net Power Exported | kWhr | 167357 | 630751 | 22935674
4 | Auxiliary power consumption | ( % ) | 9.7806 | 10.2262 | 10.836
5 | Average Power Generation | MWhr | 7.7292 | 7.3187 | 6.8638
6 | Plant Running Hours | Hrs | 24 | 96 | 3747.66
6 | PLF | ( % ) | 77.2917 | 73.1875 | 68.6375
7 | Feed Water consumption | MT | 839 | 3222 | 119420
8 | Boiler Steam Generation | MT | 817 | 3125 | 115802
9 | Bleed steam | MT | 63 | 215 | 7703
10 | Turbine steam consumption | MT | 772 | 2924 | 107216
11 | Condensate Generation | MT | 603 | 2313 | 85442
12 | Auxilairy steam consumption | MT | 18 | 71 | 2769
13 | Specific steam consumption | Kg/Kwhr | 4.1617 | 4.1617 | 4.1681
14 | Specific fuel consumption | Kg/Kwhr | 0.72237 | 0.75434 | 0.83003
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2802.6199 | 2802.9063 | 2807.8635
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3800.1313 | 3837.6233 | 3884.3167
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 134 | 530 | 21351
2 | GCV ( ADB ) | Kcal/kg | 5472
WTP Report
1 | DM water Generation | m3 | 11 | 48 | 2332
2 | DM water Consumption | m3 | 11 | 49 | 2345
3 | CT Makeup Water Consumption | m3 | 20 | 110 | 3214
4 | Fly ash combustible/ GCV | % / kcal/kg | 24.5 | 1839
5 | Fly ash to cement mill | MT | 0 | 0 | 3807
6 | Fly ash to Coal yard(Truck) | nos | 5 | 20 | 389
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 5
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-05 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 178400 | 881000 | 25901416
2 | Auxiliary power consumption | kWhr | 18081 | 89930 | 2805423
3 | Net Power Exported | kWhr | 160319 | 791070 | 23095993
4 | Auxiliary power consumption | ( % ) | 10.1351 | 10.2077 | 10.8312
5 | Average Power Generation | MWhr | 7.4333 | 7.3417 | 6.8674
6 | Plant Running Hours | Hrs | 24 | 120 | 3771.66
6 | PLF | ( % ) | 74.3333 | 73.4167 | 68.6738
7 | Feed Water consumption | MT | 817 | 4039 | 120237
8 | Boiler Steam Generation | MT | 788 | 3913 | 116590
9 | Bleed steam | MT | 57 | 272 | 7760
10 | Turbine steam consumption | MT | 744 | 3668 | 107960
11 | Condensate Generation | MT | 588 | 2901 | 86030
12 | Auxilairy steam consumption | MT | 17 | 88 | 2786
13 | Specific steam consumption | Kg/Kwhr | 4.1704 | 4.1635 | 4.1681
14 | Specific fuel consumption | Kg/Kwhr | 0.71749 | 0.74688 | 0.82926
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2808.8677 | 2804.1135 | 2807.8704
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3811.113 | 3832.255 | 3883.8125
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 128 | 658 | 21479
2 | GCV ( ADB ) | Kcal/kg | 5609
WTP Report
1 | DM water Generation | m3 | 15 | 63 | 2347
2 | DM water Consumption | m3 | 13 | 62 | 2358
3 | CT Makeup Water Consumption | m3 | 18 | 128 | 3232
4 | Fly ash combustible/ GCV | % / kcal/kg | 28 | 1963
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 0 | 3807
6 | Fly ash to Coal yard(Truck) | nos | 5 | 25 | 394
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 6
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-06 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 174700 | 1055700 | 26076116
2 | Auxiliary power consumption | kWhr | 17849 | 107779 | 2823272
3 | Net Power Exported | kWhr | 156851 | 947921 | 23252844
4 | Auxiliary power consumption | ( % ) | 10.2169 | 10.2092 | 10.827
5 | Average Power Generation | MWhr | 7.2792 | 7.3312 | 6.87
6 | Plant Running Hours | Hrs | 24 | 144 | 3795.66
6 | PLF | ( % ) | 72.7917 | 73.3125 | 68.6998
7 | Feed Water consumption | MT | 798 | 4837 | 121035
8 | Boiler Steam Generation | MT | 773 | 4686 | 117363
9 | Bleed steam | MT | 58 | 330 | 7818
10 | Turbine steam consumption | MT | 731 | 4399 | 108691
11 | Condensate Generation | MT | 572 | 3473 | 86602
12 | Auxilairy steam consumption | MT | 18 | 106 | 2804
13 | Specific steam consumption | Kg/Kwhr | 4.1843 | 4.1669 | 4.1682
14 | Specific fuel consumption | Kg/Kwhr | 0.74413 | 0.74642 | 0.82869
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2818.1053 | 2806.4289 | 2807.939
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3817.7462 | 3829.8541 | 3883.3699
17 | DG Power Generation | kWhr |  | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 130 | 788 | 21609
2 | GCV ( ADB ) | Kcal/kg | 4121
WTP Report
1 | DM water Generation | m3 | 12 | 75 | 2359
2 | DM water Consumption | m3 | 12 | 74 | 2370
3 | CT Makeup Water Consumption | m3 | 18 | 146 | 3250
4 | Fly ash combustible/ GCV | % / kcal/kg | 22 | 1647
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 18 | 18 | 3825
6 | Fly ash to Coal yard(Truck) | nos | 3 | 28 | 397
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 7
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-07 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 172100 | 1227800 | 26248216
2 | Auxiliary power consumption | kWhr | 17662 | 125441 | 2840934
3 | Net Power Exported | kWhr | 154438 | 1102359 | 23407282
4 | Auxiliary power consumption | ( % ) | 10.2626 | 10.2167 | 10.8233
5 | Average Power Generation | MWhr | 7.1708 | 7.3083 | 6.8719
6 | Plant Running Hours | Hrs | 24 | 168 | 3819.66
6 | PLF | ( % ) | 71.7083 | 73.0833 | 68.7187
7 | Feed Water consumption | MT | 786 | 5623 | 121821
8 | Boiler Steam Generation | MT | 767 | 5453 | 118130
9 | Bleed steam | MT | 57 | 387 | 7875
10 | Turbine steam consumption | MT | 721 | 5120 | 109412
11 | Condensate Generation | MT | 566 | 4039 | 87168
12 | Auxilairy steam consumption | MT | 17 | 123 | 2821
13 | Specific steam consumption | Kg/Kwhr | 4.1894 | 4.1701 | 4.1684
14 | Specific fuel consumption | Kg/Kwhr | 0.74956 | 0.74686 | 0.82817
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2821.4003 | 2808.5274 | 2808.0273
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3845.3419 | 3832.025 | 3883.1206
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 129 | 917 | 21738
2 | GCV ( ADB ) | Kcal/kg | 4397
1 | DM water Generation | m3 | 10 | 85 | 2369
2 | DM water Consumption | m3 | 11 | 85 | 2381
3 | CT Makeup Water Consumption | m3 | 18 | 164 | 3268
4 | Fly ash combustible/ GCV | % / kcal/kg | 18.95 | 1498
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 17 | 35 | 3842
6 | Fly ash to Coal yard(Truck) | nos | 3 | 31 | 400
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 8
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-08 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 179400 | 1407200 | 26427616
2 | Auxiliary power consumption | kWhr | 18035 | 143476 | 2858969
3 | Net Power Exported | kWhr | 161365 | 1263724 | 23568647
4 | Auxiliary power consumption | ( % ) | 10.053 | 10.1958 | 10.8181
5 | Average Power Generation | MWhr | 7.475 | 7.3292 | 6.8756
6 | Plant Running Hours | Hrs | 24 | 192 | 3843.66
6 | PLF | ( % ) | 74.75 | 73.2917 | 68.7564
7 | Feed Water consumption | MT | 819 | 6442 | 122640
8 | Boiler Steam Generation | MT | 795 | 6248 | 118925
9 | Bleed steam | MT | 61 | 448 | 7936
10 | Turbine steam consumption | MT | 752 | 5872 | 110164
11 | Condensate Generation | MT | 588 | 4627 | 87756
12 | Auxilairy steam consumption | MT | 19 | 142 | 2840
13 | Specific steam consumption | Kg/Kwhr | 4.1918 | 4.1728 | 4.1685
14 | Specific fuel consumption | Kg/Kwhr | 0.74693 | 0.74687 | 0.82762
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2823.0546 | 2810.3795 | 2808.1293
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3823.5357 | 3830.9427 | 3882.7161
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 134 | 1051 | 21872
2 | GCV ( ADB ) | Kcal/kg | 4382
WTP Report
1 | DM water Generation | m3 | 14 | 99 | 2383
2 | DM water Consumption | m3 | 12 | 97 | 2393
3 | CT Makeup Water Consumption | m3 | 18 | 182 | 3286
4 | Fly ash combustible/ GCV | % / kcal/kg | 19 | 1402
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 35 | 3842
6 | Fly ash to Coal yard(Truck) | nos | 5 | 36 | 405
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 9
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-09 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 183200 | 1590400 | 26610816
2 | Auxiliary power consumption | kWhr | 18049 | 161525 | 2877018
3 | Net Power Exported | kWhr | 165151 | 1428875 | 23733798
4 | Auxiliary power consumption | ( % ) | 9.8521 | 10.1562 | 10.8115
5 | Average Power Generation | MWhr | 7.6333 | 7.363 | 6.8803
6 | Plant Running Hours | Hrs | 24 | 216 | 3867.66
6 | PLF | ( % ) | 76.3333 | 73.6296 | 68.8034
7 | Feed Water consumption | MT | 832 | 7274 | 123472
8 | Boiler Steam Generation | MT | 811 | 7059 | 119736
9 | Bleed steam | MT | 61 | 509 | 7997
10 | Turbine steam consumption | MT | 765 | 6637 | 110929
11 | Condensate Generation | MT | 609 | 5236 | 88365
12 | Auxilairy steam consumption | MT | 17 | 159 | 2857
13 | Specific steam consumption | Kg/Kwhr | 4.1758 | 4.1732 | 4.1686
14 | Specific fuel consumption | Kg/Kwhr | 0.74782 | 0.74698 | 0.82707
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2812.0906 | 2810.5766 | 2808.1565
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3819.5821 | 3829.6341 | 3882.2814
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 137 | 1188 | 22009
2 | GCV ( ADB ) | Kcal/kg | 4134
WTP Report
1 | DM water Generation | m3 | 12 | 111 | 2395
2 | DM water Consumption | m3 | 11 | 108 | 2404
3 | CT Makeup Water Consumption | m3 | 18 | 200 | 3304
4 | Fly ash combustible/ GCV | % / kcal/kg | 18 | 1540
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 35 | 3842
6 | Fly ash to Coal yard(Truck) | nos | 5 | 41 | 410
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 10
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-10 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 185100 | 1775500 | 26795916
2 | Auxiliary power consumption | kWhr | 18232 | 179757 | 2895250
3 | Net Power Exported | kWhr | 166868 | 1595743 | 23900666
4 | Auxiliary power consumption | ( % ) | 9.8498 | 10.1243 | 10.8048
5 | Average Power Generation | MWhr | 7.7125 | 7.3979 | 6.8855
6 | Plant Running Hours | Hrs | 24 | 240 | 3891.66
6 | PLF | ( % ) | 77.125 | 73.9792 | 68.8547
7 | Feed Water consumption | MT | 845 | 8119 | 124317
8 | Boiler Steam Generation | MT | 817 | 7876 | 120553
9 | Bleed steam | MT | 62 | 571 | 8059
10 | Turbine steam consumption | MT | 776 | 7413 | 111705
11 | Condensate Generation | MT | 608 | 5844 | 88973
12 | Auxilairy steam consumption | MT | 18 | 177 | 2875
13 | Specific steam consumption | Kg/Kwhr | 4.1923 | 4.1752 | 4.1687
14 | Specific fuel consumption | Kg/Kwhr | 0.74554 | 0.74683 | 0.82651
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2823.544 | 2811.9285 | 2808.2628
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3808.3434 | 3827.4145 | 3881.7707
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 138 | 1326 | 22147
2 | GCV ( ADB ) | Kcal/kg | 4205
WTP Report
1 | DM water Generation | m3 | 10 | 121 | 2405
2 | DM water Consumption | m3 | 13 | 121 | 2417
3 | CT Makeup Water Consumption | m3 | 18 | 218 | 3322
4 | Fly ash combustible/ GCV | % / kcal/kg | 19 | 1533
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 52 | 87 | 3894
6 | Fly ash to Coal yard(Truck) | nos | 0 | 41 | 410
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 11
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-11 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 165700 | 1941200 | 26961616
2 | Auxiliary power consumption | kWhr | 17719 | 197476 | 2912969
3 | Net Power Exported | kWhr | 147981 | 1743724 | 24048647
4 | Auxiliary power consumption | ( % ) | 10.6934 | 10.1729 | 10.8041
5 | Average Power Generation | MWhr | 6.9042 | 7.353 | 6.8856
6 | Plant Running Hours | Hrs | 24 | 264 | 3915.66
6 | PLF | ( % ) | 69.0417 | 73.5303 | 68.8559
7 | Feed Water consumption | MT | 759 | 8878 | 125076
8 | Boiler Steam Generation | MT | 737 | 8613 | 121290
9 | Bleed steam | MT | 56 | 627 | 8115
10 | Turbine steam consumption | MT | 691 | 8104 | 112396
11 | Condensate Generation | MT | 576 | 6420 | 89549
12 | Auxilairy steam consumption | MT | 17 | 194 | 2892
13 | Specific steam consumption | Kg/Kwhr | 4.1702 | 4.1747 | 4.1687
14 | Specific fuel consumption | Kg/Kwhr | 0.74231 | 0.74645 | 0.82599
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2808.8896 | 2811.6691 | 2808.2667
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3837.6507 | 3828.2882 | 3881.4995
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 123 | 1449 | 22270
2 | GCV ( ADB ) | Kcal/kg | 4371
WTP Report
1 | DM water Generation | m3 | 13 | 134 | 2418
2 | DM water Consumption | m3 | 13 | 134 | 2430
3 | CT Makeup Water Consumption | m3 | 18 | 236 | 3340
4 | Fly ash combustible/ GCV | % / kcal/kg | 19 | 1599
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 25 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 2 | 43 | 412
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 12
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-12 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 168100 | 2109300 | 27129716
2 | Auxiliary power consumption | kWhr | 17857 | 215333 | 2930826
3 | Net Power Exported | kWhr | 150243 | 1893967 | 24198890
4 | Auxiliary power consumption | ( % ) | 10.6228 | 10.2087 | 10.803
5 | Average Power Generation | MWhr | 7.0042 | 7.324 | 6.8863
6 | Plant Running Hours | Hrs | 24 | 288 | 3939.66
6 | PLF | ( % ) | 70.0417 | 73.2396 | 68.8631
7 | Feed Water consumption | MT | 764 | 9642 | 125840
8 | Boiler Steam Generation | MT | 743 | 9356 | 122033
9 | Bleed steam | MT | 57 | 684 | 8172
10 | Turbine steam consumption | MT | 698 | 8802 | 113094
11 | Condensate Generation | MT | 551 | 6971 | 90100
12 | Auxilairy steam consumption | MT | 18 | 212 | 2910
13 | Specific steam consumption | Kg/Kwhr | 4.1523 | 4.1729 | 4.1686
14 | Specific fuel consumption | Kg/Kwhr | 0.73766 | 0.74575 | 0.82544
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2796.4545 | 2810.4565 | 2808.1935
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3813.6564 | 3827.1221 | 3881.0792
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 124 | 1573 | 22394
2 | GCV ( ADB ) | Kcal/kg | 4614
WTP Report
1 | DM water Generation | m3 | 13 | 147 | 2431
2 | DM water Consumption | m3 | 11 | 145 | 2441
3 | CT Makeup Water Consumption | m3 | 18 | 254 | 3358
4 | Fly ash combustible/ GCV | % / kcal/kg | 20 | 1523
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 4 | 47 | 416
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 13
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-13 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 134000 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 18045 | 233378 | 2948871
3 | Net Power Exported | kWhr | 115955 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | 13.4664 | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | 5.5833 | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 24 | 312 | 3963.66
6 | PLF | ( % ) | 55.8333 | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 640 | 10282 | 126480
8 | Boiler Steam Generation | MT | 610 | 9966 | 122643
9 | Bleed steam | MT | 43 | 727 | 8215
10 | Turbine steam consumption | MT | 565 | 9367 | 113659
11 | Condensate Generation | MT | 479 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 16 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | 4.2164 | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | 0.75373 | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2843.0224 | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 3927.765 | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 101 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 4542
WTP Report
1 | DM water Generation | m3 | 21 | 168 | 2452
2 | DM water Consumption | m3 | 24 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 18 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 21.8 | 1674
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 3 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 14
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-14 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 0 | 233378 | 2948871
3 | Net Power Exported | kWhr | 0 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | #DIV/0! | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 0 | 312 | 3963.66
6 | PLF | ( % ) | #DIV/0! | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 0 | 10282 | 126480
8 | Boiler Steam Generation | MT | 0 | 9966 | 122643
9 | Bleed steam | MT | 0 | 727 | 8215
10 | Turbine steam consumption | MT | 0 | 9367 | 113659
11 | Condensate Generation | MT | 0 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 0 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 0 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 168 | 2452
2 | DM water Consumption | m3 | 0 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 0 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 15
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-15 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 0 | 233378 | 2948871
3 | Net Power Exported | kWhr | 0 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | #DIV/0! | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 0 | 312 | 3963.66
6 | PLF | ( % ) | #DIV/0! | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 0 | 10282 | 126480
8 | Boiler Steam Generation | MT | 0 | 9966 | 122643
9 | Bleed steam | MT | 0 | 727 | 8215
10 | Turbine steam consumption | MT | 0 | 9367 | 113659
11 | Condensate Generation | MT | 0 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 0 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 0 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 168 | 2452
2 | DM water Consumption | m3 | 0 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 0 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 16
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-16 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 0 | 233378 | 2948871
3 | Net Power Exported | kWhr | 0 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | #DIV/0! | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 0 | 312 | 3963.66
6 | PLF | ( % ) | #DIV/0! | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 0 | 10282 | 126480
8 | Boiler Steam Generation | MT | 0 | 9966 | 122643
9 | Bleed steam | MT | 0 | 727 | 8215
10 | Turbine steam consumption | MT | 0 | 9367 | 113659
11 | Condensate Generation | MT | 0 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 0 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 0 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 168 | 2452
2 | DM water Consumption | m3 | 0 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 0 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 17
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-17 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 0 | 233378 | 2948871
3 | Net Power Exported | kWhr | 0 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | #DIV/0! | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 0 | 312 | 3963.66
6 | PLF | ( % ) | #DIV/0! | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 0 | 10282 | 126480
8 | Boiler Steam Generation | MT | 0 | 9966 | 122643
9 | Bleed steam | MT | 0 | 727 | 8215
10 | Turbine steam consumption | MT | 0 | 9367 | 113659
11 | Condensate Generation | MT | 0 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 0 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 0 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 168 | 2452
2 | DM water Consumption | m3 | 0 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 0 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 18
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-18 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2243300 | 27263716
2 | Auxiliary power consumption | kWhr | 0 | 233378 | 2948871
3 | Net Power Exported | kWhr | 0 | 2009922 | 24314845
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.4033 | 10.8161
5 | Average Power Generation | MWhr | #DIV/0! | 7.1901 | 6.8784
6 | Plant Running Hours | Hrs | 0 | 312 | 3963.66
6 | PLF | ( % ) | #DIV/0! | 71.9006 | 68.7842
7 | Feed Water consumption | MT | 0 | 10282 | 126480
8 | Boiler Steam Generation | MT | 0 | 9966 | 122643
9 | Bleed steam | MT | 0 | 727 | 8215
10 | Turbine steam consumption | MT | 0 | 9367 | 113659
11 | Condensate Generation | MT | 0 | 7450 | 90579
12 | Auxilairy steam consumption | MT | 0 | 228 | 2926
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.1755 | 4.1689
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74622 | 0.82509
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2812.4018 | 2808.3647
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3833.1339 | 3881.3086
17 | DG Power Generation | kWhr | 0 | 0 | 1468
FUEL Report
1 | Coal Consumption | MT | 0 | 1674 | 22495
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 168 | 2452
2 | DM water Consumption | m3 | 0 | 169 | 2465
3 | CT Makeup Water Consumption | m3 | 0 | 272 | 3376
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 50 | 419
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 19
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-19 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 34400 | 2277700 | 27298116
2 | Auxiliary power consumption | kWhr | 8609 | 241987 | 2957480
3 | Net Power Exported | kWhr | 25791 | 2035713 | 24340636
4 | Auxiliary power consumption | ( % ) | 25.0262 | 10.6242 | 10.834
5 | Average Power Generation | MWhr | 4.5867 | 7.129 | 6.8741
6 | Plant Running Hours | Hrs | 7.5 | 319.5 | 3971.16
6 | PLF | ( % ) | 45.8667 | 71.2895 | 68.7409
7 | Feed Water consumption | MT | 534 | 10816 | 127014
8 | Boiler Steam Generation | MT | 469 | 10435 | 123112
9 | Bleed steam | MT | 17 | 744 | 8232
10 | Turbine steam consumption | MT | 391 | 9758 | 114050
11 | Condensate Generation | MT | 540 | 7990 | 91119
12 | Auxilairy steam consumption | MT | 27 | 255 | 2953
13 | Specific steam consumption | Kg/Kwhr | 11.3663 | 4.2841 | 4.1779
14 | Specific fuel consumption | Kg/Kwhr | 0.72674 | 0.74593 | 0.82497
15 | Heat Rate(TG)2880 | Kcal/Kwh | 7734.8401 | 2886.7452 | 2814.5728
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 11763.4541 | 3952.9051 | 3891.2414
17 | DG Power Generation | kWhr | 23659 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 25 | 1699 | 22520
2 | GCV ( ADB ) | Kcal/kg | 5870
WTP Report
1 | DM water Generation | m3 | 98.45 | 266.45 | 2550.45
2 | DM water Consumption | m3 | 97.85 | 266.85 | 2562.85
3 | CT Makeup Water Consumption | m3 | 32 | 304 | 3408
4 | Fly ash combustible/ GCV | % / kcal/kg | 31 | 2256
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 2 | 52 | 421
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 20
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-20 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 133000 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 17211 | 259198 | 2974691
3 | Net Power Exported | kWhr | 115789 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | 12.9406 | 10.752 | 10.8442
5 | Average Power Generation | MWhr | 5.5417 | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 24 | 343.5 | 3995.16
6 | PLF | ( % ) | 55.4167 | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 706 | 11522 | 127720
8 | Boiler Steam Generation | MT | 617 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 542 | 10300 | 114592
11 | Condensate Generation | MT | 528 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 18 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | 4.0752 | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | 0.71429 | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | 2748.4662 | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | 4054.6919 | 4007.025 | 3942.3245
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 95 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 5110 | 0
WTP Report
1 | DM water Generation | m3 | 27 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 26 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 14 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 33 | 2585
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 4 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 21
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-21 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 22
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-22 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 23
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-23 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 24
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-24 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coal yard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 25
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-25 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 26
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-26 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 27
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-27 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0 | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 28
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-28 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 29
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-29 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0

## 30
1*10 MW CAPTIVE POWER PLANT
Daily,Monthly & Yearly Generation Report (FRM-LCL-PP-06)
Sr. NO. | Description | Unit | 2026-09-30 | Month to Date | Year to Date(APR2026-MAR2027)
1 | Gross Power Generation | kWhr | 0 | 2410700 | 27431116
2 | Auxiliary power consumption | kWhr | 0 | 259198 | 2974691
3 | Net Power Exported | kWhr | 0 | 2151502 | 24456425
4 | Auxiliary power consumption | ( % ) | #DIV/0! | 10.752 | 10.8442
5 | Average Power Generation | MWhr | #DIV/0! | 7.018 | 6.8661
6 | Plant Running Hours | Hrs | 0 | 343.5 | 3995.16
6 | PLF | ( % ) | #DIV/0! | 70.1805 | 68.6609
7 | Feed Water consumption | MT | 0 | 11522 | 127720
8 | Boiler Steam Generation | MT | 0 | 11052 | 123729
9 | Bleed steam | MT | 0 | 744 | 8232
10 | Turbine steam consumption | MT | 0 | 10300 | 114592
11 | Condensate Generation | MT | 0 | 8518 | 91647
12 | Auxilairy steam consumption | MT | 0 | 273 | 2971
13 | Specific steam consumption | Kg/Kwhr | #DIV/0! | 4.2726 | 4.1774
14 | Specific fuel consumption | Kg/Kwhr | #DIV/0! | 0.74418 | 0.82443
15 | Heat Rate(TG)2880 | Kcal/Kwh | #DIV/0! | 2879.1162 | 2814.2523
16 | Heat Rate ( Plant ) 3300 @ MCR | Kcal/Kwh | #DIV/0! | 3955.6528 | 3891.7818
17 | DG Power Generation | kWhr | 0 | 23659 | 25127
FUEL Report
1 | Coal Consumption | MT | 0 | 1794 | 22615
2 | GCV ( ADB ) | Kcal/kg | 0
WTP Report
1 | DM water Generation | m3 | 0 | 293.45 | 2577.45
2 | DM water Consumption | m3 | 0 | 292.85 | 2588.85
3 | CT Makeup Water Consumption | m3 | 0 | 318 | 3422
4 | Fly ash combustible/ GCV | % / kcal/kg | 0 | 0
FLY ASH DISPOSAL REPORT
5 | Fly ash to cement mill | MT | 0 | 112 | 3919
6 | Fly ash to Coalyard(Truck) | nos | 0 | 56 | 425
7 | Fly ash to Dumpyard(Truck) | nos | 0 | 0 | 0